{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":74,"n_cols":15,"rows_kept":74,"merged":[[0,1,0,14],[1,1,1,14],[2,1,4,2],[2,3,4,4],[2,5,2,10],[2,11,4,11],[2,12,4,12],[2,13,4,13],[2,14,4,14],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,10],[5,1,9,2],[5,3,5,4],[5,8,5,10],[5,11,9,11],[5,12,9,12],[5,14,22,14],[6,3,6,4],[6,8,6,10],[7,3,7,4],[7,8,7,10],[8,3,8,4],[8,8,8,10],[9,3,9,4],[9,8,9,10],[10,1,14,2],[10,3,10,4],[10,8,10,10],[10,11,14,11],[10,12,14,12],[11,3,11,4],[11,8,11,10],[12,3,12,4],[12,8,12,10],[13,3,13,4],[13,8,13,10],[14,3,14,4],[14,8,14,10],[15,1,19,2],[15,3,15,4],[15,8,15,10],[15,11,19,11],[15,12,19,12],[16,3,16,4],[16,8,16,10],[17,3,17,4],[17,8,17,10],[18,3,18,4],[18,8,18,10],[19,3,19,4],[19,8,19,10],[20,1,22,2],[20,3,20,4],[20,8,20,10],[20,11,22,11],[20,12,22,12],[21,3,21,4],[21,8,21,10],[22,3,22,4],[22,8,22,10],[23,1,23,14],[24,1,24,3],[24,5,24,6],[24,7,24,9],[24,10,24,13],[25,1,31,1],[25,2,28,2],[25,5,25,6],[25,7,25,9],[25,10,25,13],[26,5,26,6],[26,7,26,9],[26,10,26,13],[27,5,27,6],[27,7,27,9],[27,10,27,13],[28,5,28,6],[28,7,28,9],[28,10,28,13],[29,2,31,2],[29,5,29,6],[29,7,29,9],[29,10,29,13],[30,5,30,6],[30,7,30,9],[30,10,30,13],[31,5,31,6],[31,7,31,9],[31,10,31,13],[32,1,32,14],[33,1,33,2],[33,3,33,4],[33,5,33,9],[33,10,33,11],[33,12,33,13],[34,1,34,2],[34,3,34,4],[34,5,37,9],[34,10,37,11],[34,14,37,14],[35,1,35,2],[35,3,35,4],[36,1,36,2],[36,3,36,4],[37,1,37,2],[37,3,37,4],[38,1,38,14],[39,1,39,14],[40,1,40,14],[41,1,41,2],[41,3,41,4],[41,8,41,9],[41,10,41,11],[41,12,41,13],[42,1,42,2],[42,3,42,4],[42,8,42,9],[42,10,42,11],[42,12,42,13],[44,1,44,14],[45,8,45,9],[46,2,58,2],[46,8,46,9],[47,8,47,9],[48,8,48,9],[49,8,49,9],[50,8,50,9],[51,8,51,9],[52,8,52,9],[53,8,53,9],[54,8,54,9],[55,8,55,9],[56,8,56,9],[57,8,57,9],[58,8,58,9],[60,3,60,4],[60,6,60,8],[60,9,60,10],[61,2,66,2],[61,3,62,3],[61,6,66,8],[61,9,66,10],[63,3,64,3],[65,3,66,3],[68,1,68,11],[69,1,71,2],[69,3,71,3],[69,4,71,4],[69,5,71,5],[69,6,71,7],[69,8,71,8],[69,9,71,9],[69,10,71,10],[72,1,76,2],[72,3,73,3],[72,4,73,4],[72,5,73,5],[72,6,73,7],[72,9,73,9],[72,10,73,10],[74,6,74,7],[75,6,75,7],[76,6,76,7]],"flags":["formulas_cached_only"]}
[null,"常州市环境卫生管理中心焚烧综合处置中心自行环境监测公开信息表"]
[null,"一、废气（无组织）检测日期：2026-01-17-2026-01-21"]
[null,"检测项目",null,"采样频次",null,"排放浓度",{"$nulls":5},"参照标准限值","单位","是否达标","监测单位"]
[{"$nulls":5},"上风向1#（东厂界）","下风向4#（西厂界）","下风向3#（西厂界）","下风向2#（西厂界）"]
[]
[null,"氨",null,"第一次",null,0.02,0.04,0.03,0.05,null,null,{"v":1.5,"d":"1.50"},"mg/m3","是","苏州华测检测技术有限公司"]
[{"$nulls":3},"第二次",null,0.01,0.05,0.03,0.03,{"$nulls":4},"是"]
[{"$nulls":3},"第三次",null,0.02,0.04,0.03,0.03,{"$nulls":4},"是"]
[{"$nulls":3},"第四次",null,0.02,0.03,0.03,0.03,{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,0.02,0.05,0.03,0.05,{"$nulls":4},"是"]
[null,"臭气浓度",null,"第一次",null,"＜10","＜10","＜10","＜10",null,null,{"v":20,"d":"20.0"},"无量纲","是"]
[{"$nulls":3},"第二次",null,"＜10","＜10","＜10","＜10",{"$nulls":4},"是"]
[{"$nulls":3},"第三次",null,"＜10","＜10","＜10","＜10",{"$nulls":4},"是"]
[{"$nulls":3},"第四次",null,"＜10","＜10","＜10","＜10",{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,"＜10","＜10","＜10","＜10",{"$nulls":4},"是"]
[null,"硫化氢",null,"第一次",null,"ND","ND","ND","ND",null,null,{"v":0.06,"d":"0.060"},"mg/m3","是"]
[{"$nulls":3},"第二次",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[{"$nulls":3},"第三次",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[{"$nulls":3},"第四次",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[null,"总悬浮颗粒物",null,"第一次",null,"ND",0.283,"ND",0.285,null,null,{"v":0.5,"d":"0.500"},"mg/m3","是"]
[{"$nulls":3},"第二次",null,"ND",0.221,"ND",0.222,{"$nulls":4},"是"]
[{"$nulls":3},"第三次",null,"ND",0.184,0.263,0.216,{"$nulls":4},"是"]
[null,"工业废气（无组织）气象参数："]
[null,"气象参数",null,null,"温度℃","大气压kPa",null,"相对湿度%",null,null,"风速m/s",{"$nulls":3},"风向"]
[null,"上风向1#（东厂界）下风向4#（西厂界）下风向3#（西厂界）下风向2#（西厂界）","氨、硫化氢、臭气浓度","第1次",14.4,102.4,null,68,null,null,1.2,{"$nulls":3},"东"]
[{"$nulls":3},"第2次",11.5,102.4,null,68,null,null,1.1,{"$nulls":3},"东"]
[{"$nulls":3},"第3次",12.2,102.2,null,67,null,null,{"v":2,"d":"2.0"},{"$nulls":3},"东"]
[{"$nulls":3},"第4次",14.4,102.1,null,66,null,null,{"v":1,"d":"1.0"},{"$nulls":3},"东"]
[null,null,"总悬浮颗粒","第1次",14.4,102.4,null,68,null,null,1.2,{"$nulls":3},"东"]
[{"$nulls":3},"第2次",11.5,102.4,null,68,null,null,1.1,{"$nulls":3},"东"]
[{"$nulls":3},"第3次",12.2,102.2,null,67,null,null,{"v":2,"d":"2.0"},{"$nulls":3},"东"]
[null,"二、厂界噪声"]
[null,"序号",null,"检测点位置",null,"检测时段",{"$nulls":4},"主要声源",null,"结果（单位：dB（A）",null,"工业企业厂界环境噪声排放标准GB12348-2008 3类 （昼间）"]
[null,1,null,"Z1",null,"2026-01-17昼间13:48～2026-01-17 14:22",{"$nulls":4},"工业生产",null,"昼间",{"v":52.9,"d":"52.90"},"65dB（A）"]
[null,2,null,"Z2",{"$nulls":8},"昼间",{"v":52,"d":"52.00"}]
[null,3,null,"Z3",{"$nulls":8},"昼间",{"v":54.5,"d":"54.50"}]
[null,4,null,"Z4",{"$nulls":8},"昼间",{"v":52.6,"d":"52.60"}]
[null,"注：厂界噪声为现场检测"]
[null,"厂界噪声气象参数："]
[null,"检测点：厂界东、西、南、北外1米"]
[null,"参数",null,"结果",{"$nulls":4},"单位",null,"参数",null,"结果",null,"单位"]
[null,"天气情况",null,"多云",{"$nulls":4},"/",null,"风速",null,1.2,null,"m/s"]
[]
[null,"三、固化飞灰重金属检测"]
[null,"序号","监测对象","监测项目","监测时间","监测结果mg/L","标准值","是否达标","监测单位"]
[null,1,"固化飞灰","汞","2026.01.13～2026.01.16",0.0009,0.05,"是","苏州市华测检测技术有限公司"]
[null,2,null,"钡","2026.01.13～2026.01.16",{"v":2.1,"d":"2.100"},"25","是","苏州市华测检测技术有限公司"]
[null,3,null,"铍","2026.01.13～2026.01.16","ND",0.02,"是","苏州市华测检测技术有限公司"]
[null,4,null,"镉","2026.01.13～2026.01.16","ND",0.15,"是","苏州市华测检测技术有限公司"]
[null,5,null,"总铬","2026.01.13～2026.01.16","ND",4.5,"是","苏州市华测检测技术有限公司"]
[null,6,null,"锌","2026.01.13～2026.01.16",0.08,100,"是","苏州市华测检测技术有限公司"]
[null,7,null,"铜","2026.01.13～2026.01.16","ND",40,"是","苏州市华测检测技术有限公司"]
[null,8,null,"镍","2026.01.13～2026.01.16","ND",0.5,"是","苏州市华测检测技术有限公司"]
[null,9,null,"铅","2026.01.13～2026.01.16","ND",0.25,"是","苏州市华测检测技术有限公司"]
[null,10,null,"硒","2026.01.13～2026.01.16",0.0727,0.1,"是","苏州市华测检测技术有限公司"]
[null,11,null,"砷","2026.01.13～2026.01.16",0.0044,0.3,"是","苏州市华测检测技术有限公司"]
[null,12,null,"六价铬","2026.01.13～2026.01.16","ND",1.5,"是","苏州市华测检测技术有限公司"]
[null,13,null,"含水率（%）","2026.01.13～2026.01.16",{"v":0.04019999999999999,"d":"4.02%"},{"v":0.3,"d":"30%"},"是","苏州市华测检测技术有限公司"]
[null,"四、","雨水检测"]
[null,"序号","检测对象","检测项目",null,"结果","检测单位",null,null,"检测时间"]
[null,1,"雨水排放口雨水","样品1","悬浮物",10,"苏州市华测检测技术有限公司",null,null,"2026.01.17-2026.01.19"]
[null,2,null,null,"化学需氧量",12]
[null,3,null,"样品2","悬浮物",12]
[null,4,null,null,"化学需氧量",12]
[null,5,null,"样品3","悬浮物",9]
[null,6,null,null,"化学需氧量",12]
[]
[null,"五、危险废物处置信息（2026年1月份）"]
[null,"企业名称",null,"经营种类","利用处置能力（吨/年）","危险废物接收量(吨)","危险废物实际利用处置量（吨）",null,"次生危险废物种类及编号","次生危险废物实际产生量（吨）","次生危险废物去向"]
[]
[]
[null,"常州市环境卫生管理中心焚烧综合处置中心",null,"生活垃圾焚烧飞灰",11500,686.25,686.25,null,"生活垃圾焚烧飞灰（飞灰固化物）",733,"武进区环境卫生管理中心填埋场"]
[{"$nulls":8}," HW18"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}