{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":25,"n_cols":12,"rows_kept":25,"merged":[[0,1,0,14],[2,1,2,14],[3,4,3,6],[3,7,3,8],[3,11,3,14],[4,2,16,2],[4,4,4,6],[4,7,4,8],[4,11,4,14],[5,4,5,6],[5,7,5,8],[5,11,5,14],[6,4,6,6],[6,7,6,8],[6,11,6,14],[7,4,7,6],[7,7,7,8],[7,11,7,14],[8,4,8,6],[8,7,8,8],[8,11,8,14],[9,4,9,6],[9,7,9,8],[9,11,9,14],[10,4,10,6],[10,7,10,8],[10,11,10,14],[11,4,11,6],[11,7,11,8],[11,11,11,14],[12,4,12,6],[12,7,12,8],[12,11,12,14],[13,4,13,6],[13,7,13,8],[13,11,13,14],[14,4,14,6],[14,7,14,8],[14,11,14,14],[15,4,15,6],[15,7,15,8],[15,11,15,14],[16,4,16,6],[16,7,16,8],[16,11,16,14],[19,1,19,11],[20,1,22,2],[20,3,22,3],[20,4,22,4],[20,5,22,5],[20,6,22,7],[20,8,22,8],[20,9,22,9],[20,10,22,10],[23,1,27,2],[23,3,24,3],[23,4,24,4],[23,5,24,5],[23,6,24,7],[23,9,24,9],[23,10,24,10],[25,6,25,7],[26,6,26,7],[27,6,27,7]],"flags":["formulas_cached_only"]}
[null,"常州市环境卫生管理中心焚烧综合处置中心自行环境监测公开信息表"]
[]
[null,"一、固化飞灰重金属检测"]
[null,"序号","监测对象","监测项目","监测时间",null,null,"监测结果mg/L",null,"标准值","是否达标","监测单位"]
[null,1,"固化飞灰","汞","2026.02.06～2026.02.10",null,null,0.00072,null,0.05,"是","苏州市华测检测技术有限公司"]
[null,2,null,"钡","2026.02.06～2026.02.10",null,null,{"v":1.72,"d":"1.720"},null,"25","是","苏州市华测检测技术有限公司"]
[null,3,null,"铍","2026.02.06～2026.02.10",null,null,"ND",null,0.02,"是","苏州市华测检测技术有限公司"]
[null,4,null,"镉","2026.02.06～2026.02.10",null,null,"ND",null,0.15,"是","苏州市华测检测技术有限公司"]
[null,5,null,"总铬","2026.02.06～2026.02.10",null,null,"ND",null,4.5,"是","苏州市华测检测技术有限公司"]
[null,6,null,"锌","2026.02.06～2026.02.10",null,null,0.17,null,100,"是","苏州市华测检测技术有限公司"]
[null,7,null,"铜","2026.02.06～2026.02.10",null,null,"ND",null,40,"是","苏州市华测检测技术有限公司"]
[null,8,null,"镍","2026.02.06～2026.02.10",null,null,"ND",null,0.5,"是","苏州市华测检测技术有限公司"]
[null,9,null,"铅","2026.02.06～2026.02.10",null,null,"ND",null,0.25,"是","苏州市华测检测技术有限公司"]
[null,10,null,"硒","2026.02.06～2026.02.10",null,null,0.0445,null,0.1,"是","苏州市华测检测技术有限公司"]
[null,11,null,"砷","2026.02.06～2026.02.10",null,null,0.01,null,0.3,"是","苏州市华测检测技术有限公司"]
[null,12,null,"六价铬","2026.02.06～2026.02.10",null,null,"ND",null,1.5,"是","苏州市华测检测技术有限公司"]
[null,13,null,"含水率（%）","2026.02.06～2026.02.10",null,null,{"v":0.0572,"d":"5.72%"},null,{"v":0.3,"d":"30%"},"是","苏州市华测检测技术有限公司"]
[]
[]
[null,"二、飞灰处理量（2026年2月份）"]
[null,"企业名称",null,"经营种类","利用处置能力（吨/年）","危险废物接收量(吨)","危险废物实际利用处置量（吨）",null,"次生危险废物种类及编号","次生危险废物实际产生量（吨）","次生危险废物去向"]
[]
[]
[null,"常州市环境卫生管理中心焚烧综合处置中心",null,"生活垃圾焚烧飞灰",11500,511.29,511.29,null,"生活垃圾焚烧飞灰（飞灰固化物）",551.06,"武进区环境卫生管理中心填埋场"]
[{"$nulls":8}," HW18"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}